## 2024
Date | Systems impacted | Planned or Unplanned | Down or Degraded | Ticket No. | Start Time | End Time | Time Lapsed (HH:MM) | Time Lapsed in Minutes | Impact | Vendor Related/Internal | Root Cause | Corrective Action | Updated By | Comments if required
January 2024
2024-01-02 | Internet | Unplanned | Degraded |  | 10:30 | 10:54 | 0:24 | 0.016667 | Intermittent Internet access and same for all applications that rely on the Internet | Internal | Primary firewall became unstable, high CPU | Failed over to secondary firewall | Ruben Castillo
2024-01-05 | East Bliss, Pike and ATMs in Ft Bliss | Unplanned | Down |  | 10:34 | 18:39 | 8:05 | 0.33681 | Network connectivity down for branches and ATM located in Ft Bliss | Vendor | Conterra fiber cut/damage | Conterra repaired fiber damage | Ruben Castillo
2024-01-08 | Symitar SSO Apps | Unplanned | Down |  | 9:44 | 11:42 | 1:58 | 0.081944 | Staff unable to run OFAC reports, Address Updater, ECM.TRAN, COOP/Springboard SSO unavailable. | Internal | SSO connectivity from Symitar was intermittent, root cause unknown at this time. | Failover to secondary firewall resolved the issue. | Bob Shehan
2024-01-22 | Eltropy Text Messaging | Unplanned | Degraded |  | 8:44 | 11:29 | 2:45 | 0.11458 | Eltropy Text Messaging is slow and status changes are not working as intended. | Vendor | TBD | Eltropy implemented fix and issue resolved. | Christian Almanza
2024-01-22 | Cardwizard | Unplanned | Down | 215615 | 14:45 | 8:00 | 17:15 | -0.28125 | Branches are experiencing time outs when attempt to print cards on Cardwizard | Vendor | Issue with COOP | COOP implemented fix and issue resolved. | Erick Martinez-Maya
2024-01-24 | MeridianLink | Unplanned | Down |  | 16:40 | 17:41 | 1:01 | 0.042361 | XA and LPQ down, staff unable to open accounts or book loans. | Internal | Primary ML VPN failed over to DR | Link moved back to primary. | Bob Shehan
2024-01-25 | MeridianLink | Unplanned | Down |  | 17:12 | 18:07 | 0:55 | 0.038194 | XA and LPQ down, staff unable to open accounts or book loans. | Internal | Primary ML VPN failed over to DR | Link moved back to primary. | Bob Shehan
2024-01-26 | MeridianLink | Unplanned | Down |  | 8:54 | 9:09 | 0:15 | 0.010417 | XA and LPQ down, staff unable to open accounts or book loans. | Internal | Primary ML VPN failed over to DR | Link moved back to primary. | Bob Shehan
2024-01-26 | MeridianLink | Unplanned | Down |  | 16:26 | 17:20 | 0:54 | 0.0375 | XA and LPQ down, staff unable to open accounts or book loans. | Internal | Primary ML VPN failed over to DR | Link moved back to primary. | Bob Shehan
2024-01-26 | POP i/o | Unplanned | Degraded | 216334 | 10:04 | 10:49 | 0:45 | 0.03125 | Video Banking Lag, Drops, Intermittence | Vendor | Vendor was running Optimization on their servers. | Vendor stopped the optimization. | Christian Almanza | RCA filled out.
2024-01-29 | POP i/o | Unplanned | Degraded |  | 14:50 | 15:30 | 0:40 | 0.027778 | Video Banking Lag, Drops, Intermittence | Vendor | No RCA will be provided, per Eltropy. | Fix was implemented by Vendor. | Christian Almanza
2024-01-30 | East Bliss, Pike and ATMs in Ft Bliss | Unplanned | Down |  | 21:45 | 23:59 | 2:14 | 0.093056 | Network connectivity down for branches and ATM located in Ft Bliss | Vendor | Conterra repairing fiber cut from 1/5 |  | Alex G
2024-01-31 | East Bliss, Pike and ATMs in Ft Bliss | Unplanned | Down |  | 0:00 | 0:56 | 0:56 | 0.038889 | Network connectivity down for branches and ATM located in Ft Bliss | Vendor | Conterra repairing fiber cut from 1/5 |  | Alex G
February 2024
2024-02-01 | eStatus Connect | Unplanned | Degraded |  | 7:48 | 23:00 | 15:12 | 0.63333 | Vendor reported issue with eStatus Connect running slowly. No issues were reported by our users. | Vendor | Latency in vendor's database server. | Vendor performed maintenance on their database server. | Bob Shehan
2024-02-05 | POP i/o | Unplanned | Degraded |  | 14:16 | 23:30 | 9:14 | 0.38472 | Video Banking Lag, drops, intermittence, workflows unavailable | Vendor | A release was applied on 2/3/2024. The release had lingering effects on the CPU threshold for the infrastructure. It was not ready for the volume on this day. | Vendor applied a fix during the evening on 2/5/24. | Bob Shehan
2024-02-22 | CUNexus | Planned | Degraded |  | 6:30 | 8:30 | 2:00 | 0.083333 | CUNexus unavailable during planned software upgrade. | Internal | Planned software upgrade. | N/A | Bob Shehan
2024-02-26 | Cardwizard | Unplanned | Degraded |  | 9:45 | 9:47 | 0:02 | 0.0013889 | Cardwizard machine at ZG went down. Members were not able to be issued a new card | Internal | Machine at ZG went down. It was stuck in Pre Processing mode. | Had to restart services because ZG Machine was down | Hank Parra
March 2024
2024-03-01 | ACH | Unplanned | Degraded |  | 6:00 | 8:07 | 2:07 | 0.088194 | Payment Support had to process ACH debits and credits manually, delaying the process. | Internal | Overlapping Opcon jobs missed the incoming ACH files. | Corrected the issue by adjusting the job schedule times to prevent overlap. | Bob Shehan
2024-03-01 | POP i/o | Unplanned | Degraded |  | 12:55 | 18:00 | 5:05 | 0.21181 | Video Banking Lag, Drops, Intermittence | Vendor | No RCA will be provided, per Eltropy. | Fix was implemented by Vendor. | Christian Almanza | Beth Cobb commented: Hi Christian, We’ve heard back from engineering about the RCA. “There won't be any specific RCA on this, the Feb issues were due to incremental traffic that hit our system, and since then we have optimized our infrastructure to better manage the traffic.” I’m sorry for any inconvenience!
2024-03-04 | MeridianLink | Planned | Down |  | 18:00 | 18:56 | 0:56 | 0.038889 | Delayed booking accounts and loans for ML XA and LPQ. | Internal | Migration to new firewall. | N/A | Bob Shehan
2024-03-13 | Fort Bliss | Planned | Down |  | 9:36 | 23:52 | 14:16 | 0.59444 | All of Ft Bliss, except for Pike branch was down | Vendor | Fort Bliss planned power outage | N/A | Michael Onion
2024-03-17 | Symitar | Planned | Down |  | 6:44 | 6:59 | 0:15 | 0.010417 | ATM network down | Internal | Planned Symitar release |  | Bob Shehan
2024-03-24 | Synergy | Unplanned | Down |  | 16:25 | 8:00 | 15:35 |  | Documents and reports were not archiving into Synergy during this time | Internal | Unexpected server shutdowns for front and back office | Restarted the servers in the proper order | Roberto Favela
2024-03-28 | ActiveTeller | Unplanned | Down |  | 8:00 | 9:30 | 1:30 | 0.0625 | Member were not able to ask for help from IVTs | Vendor/Internal | Convervint pushed an image update to the ATMs/ITMs after 3 AM | Convergint will not push any udpates after 3 AM and all ATMs were rebooted to bring AT back online | Erick Martinez-Maya
April 2024
2024-04-01 | ACH | Unplanned | Degraded |  | 7:21 | 8:20 | 0:59 | 0.040972 | ACH credits and debits were delayed. | Vendor | Second Edit file stopped processing in Symitar. Root cause is unknown, however, an error code points to a cache or resource issue with Symitar according to the vendor. | Vendor guided us to remove the Edit file from Symitar and copy the file again into the system, then it processed successfully. | Bob Shehan
2024-04-01 | Mills Branch | Unplanned | Degraded |  | 14:36 | 15:12 | 0:36 | 36 | Mills Branch was degraded while vendor making changes to firewall at branch | Vendor | Vendor making changes to Mills Branch network | NA | Alex G
2024-04-04 | POP i/o | Unplanned | Degraded |  | 14:32 | 14:48 | 0:16 | 0.011111 | Video Banking Lag, Drops, Intermittence. | Vendor | Video Banking server utilization. | Fix was implemented by Vendor. | Christian Almanza
2024-04-08 | Active Teller | Unplanned | Degraded |  | 11:30 | 17:00 | 5:30 | 330 | Remote IVTs unable to unable to maintain calls with members due to continuously dropped calls | Internal | Instability in network. | Active Teller server was restarted over night. | Bob Shehan
2024-04-23 | AccessIt! | Planned | Down |  | 6:00 | 7:00 | 1:00 | 0.041667 | Badge Access at all branches and admin | Vendor | Upgrading AccessIt! to version 11.00.00 | NA | Hank Parra
2024-04-17 | eStatus Connect | Unplanned | Down |  | 6:23 | 13:43 | 7:20 | 0.30556 | Members are unable to access eStatus to view Statements. | Internal | There was some routing issues that were identified by Networking to be the root cause. |  | Christian Almanza
May 2024
2024-05-06 | Active Teller | Unplanned | Degraded |  | 8:40 | 10:17 | 1:37 | 0.067361 | IVTs unable to make establish calls with members. | Vendor/Internal | It seems that SecureWorks antivirus scanning had caused performance issues with several computers. Not all computers were included in the scannijng blackout window and smart-throttling was not enabled. | Initially, the SecureWorks process was killed for one emplyee which resolved her issue. Network team then reached to the vendor to enable smart-throttling, and set a blackout window for all computers. | Bob Shehan
2024-05-07 | Temenos | Planned | Down |  | 6:00 | 7:00 | 1:00 | 0.041667 | Temenos Prod was down. Not able to use | Internal | Application was getting a software upgrade |  | Hank Parra
2024-05-15 | ProfitStar | Planned | Down |  | 13:30 | 14:30 | 1:00 | 0.041667 | Profitstar was down not able to use | Vendor | Application was getting a software upgrade |  | Hank Parra
2024-05-21 | Eltropy Text Messaging | Unplanned | Down |  | 15:37 | 16:37 | 1:00 | 0.041667 | Entire Eltropy Suite was down. No services available, specifically texting for FLFCU. | Vendor | RCA pending. |  | Christian Almanza
5/31/2024-6/4/2024 | Rewards | Unplanned | Degraded |  | 9:06 | 16:26 | 103:20 | 6,200 | Members unable to view Rewards in Online Banking. | Internal | SFTP destination format was incorrect, files were then uploaded manually, causing them not to be processed. | SFTP destination format was corrected. Vendor assisted with correcting the issue on their end, allowing the files to successfully processed. | Bob Shehan
June 2024
2024-06-04 | ActiveTeller Upgrade | Planned | Down |  | 6:00 | 6:30 | 0:30 | 0.020833 | ActiveTeller was down | Internal | ActiveTeller was receiving a software upgrade |  | Erick Martinez/Hank Parra
5/31/2024 - 6/4/2024 | Rewards | Unplanned | Degraded |  | 9:06 | 4:26 |  |  | Rewards points not displaying properly in Online Banking.
2024-06-13 | Intranet Server Upgrade | Planned | Down |  | 20:00 | 22:00 | 2:00 | 0.083333 | Intranet was offline to get an inplace server upgrade. | Internal | Intranet server was upgraded from version 2012 to 2022 |  | Hank Parra/Alex Galavaiz
2024-06-18 | Entire Network | Unplanned | Down |  | 12:00 | 12:48 | 0:48 | 48 | Vendor made changes to Network | Vendor | Vendor made changes to core switches | Vendor will let us know before hand before making changes | Alex G
2024-06-20 | Trem2 Server Upgrade | Planned | Down |  | 20:00 | 22:00 | 2:00 | 0.083333 | Trem2 server was turned off to migrate to 2022 server | Internal | TREM2 server was upgraded from version 2012 to 2022 |  | Erick M/Alex G.
2024-06-23 | Opcon | Planned | Down |  | 12:00 | 15:00 | 3:00 | 0.125 | Schedules and jobs were put on hold | Vendor | opcon migration and upgrade
2024-06-28 | Bluepoint | Planned | Down |  | 20:00 | 0:00 | 4:00 | 2400 | Bluepoint services were down such as Capture, archive, Hub | Vendor | Bluepoint migration
2024-06-27 | Symform Server Migration and Software Upgrade | Planned | Down |  | 5:00 | 6:10 | 1:10 | 0.048611 | Symforms were not accessible | Internal | Symform Server Migration and Software Upgrade |  | Hank Parra
2029-06-28 | Cardwizard | Unplanned | Down |  | 9:30 | 9:43 | 0:13 | 0.0090278 | Branches couldn't print any cards | Vendor | Vendor didn't whitelist the IP addresses correctly |  | Erick M.
Note on F7: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G7: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F8: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G8: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F13: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G13: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F14: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G14: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F15: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G15: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F16: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G16: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G20: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F22: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G22: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F25: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G25: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F26: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G26: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F28: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G28: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F30: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G30: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F31: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G31: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F34: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G34: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F36: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G36: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F38: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G38: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F39: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G39: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F42: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G42: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F45: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G45: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F46: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G46: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F49: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G49: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F51: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G51: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F54: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G54: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F55: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G55: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F56: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G56: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on F57: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.
Note on G57: Ruben Castillo: Enter time in 12 hour format: 10:05 AM. Formulas in columns G and H will automatically calculate hours and/or minutes.